## Sheet1
FUC | GPM |  | RESIDENTIAL WATER METER WORKSHEET
0 | 1 | HIDDEN
1 | 2 | COLUMNS | Project Address: | [7 empty] | Existing Meter Size (if known):
3 | 3 | A,B,C, Q | Permit Number: | [7 empty] | Existing Service Line Size (if known):
4 | 4
APPLICABILITY: If your project matches the criteria below, you should include a PDF of this worksheet with your permit documents. [Print to PDF]
• New home with 4 or more bathrooms.
• Existing home with 4 or more bathrooms where additional plumbing fixtures are being added.
• Existing home adding a dwelling unit and planning to share one water service line/meter.
• 1-2 family residential building located outside of city limits and requesting connection to city sewer and/or water.
6 | 5 |  | INSTRUCTIONS: This is a simplified form based on the currently adopted UPC Table 610.4. Enter the quantity and type of fixtures in Table 1. Include fixtures being added as well as existing fixtures to remain. Accuracy of the fixture count is necessary to determine the appropriate meter size. For sewer/water development fee information, see the current Utility Rate Fee Sheet.
Added Fixtures: In this column, list the number of new fixtures or the number of fixtures being added to an existing project under the appropriate fixture type.
Existing Fixtures: In this column, list the number of fixtures that will remain and/or that will be relocated during and preceding the construction phase of the project. Do not count fixtures you are removing in the existing fixtures column.
Other Misc. Water Demand: Some process water demands are not listed such as unusual water fixtures, custom equipment, etc. Each of these will be assessed on a case by case basis and assigned either a fixture unit value or demand in GPM.
ALTERNATE COMPLIANCE METHOD: A Master Plumber or Engineer licensed in the State of Montana may use Appendix A of the Uniform Plumbing Code as an alternative compliance path. They shall submit supporting documentation/calcs in lieu of using this form.
7 | 6
13 | 10 |  | ❶ ZERO WATER USE SCENARIO? | [11 empty] | Select: | No
16 | 12 |  |  | By selecting "YES", the propertry owner certifies, by way of permit application, that no additional water demand is being added, removed or replaced with this application. If you select yes, skip the rest of this form.
18 | 13
20 | 14 |  | ❷ CALCULATE DOMESTIC WATER DEMAND
21 | 15
23 | 16 |  |  | TABLE 1 | [10 empty] | TABLE 2
23.9692 | 17 |  | Fixture Type |  | Added Fixtures [QTY] |  | Existing Fixtures [QTY] |  | Total Fixture Units |  | Fixture Multiplier |  |  | Hidden Column for Vlookup | Max. Fixture Units | Min. Meter Size
26 | 18 |  | All-in-one Bathtub/ Shower |  |  | + |  | = | 0 | x | 4 | = | 0 | 0 | 53 | 3/4"
28 | 19 |  | Shower (per head) |  |  | + |  | = | 0 | x | 2 | = | 0 | 54 | 128 | 1"
31 | 20 |  | Bathtub ONLY 1/2" Valve |  |  | + |  | = | 0 | x | 4 | = | 0 | 129 | 380 | 1.5"
32 | 21 |  | Bathtub ONLY 3/4" Valve |  |  | + |  | = | 0 | x | 10 | = | 0
34 | 22 |  | Kitchen Sink |  |  | + |  | = | 0 | x | 1.5 | = | 0
36 | 23 |  | Bar Sink |  |  | + |  | = | 0 | x | 1 | = | 0
39 | 24 |  | Lavatory Sink |  |  | + |  | = | 0 | x | 1 | = | 0 | Yes
42 | 25 |  | Water Closet 1.6 GPF |  |  | + |  | = | 0 | x | 2.5 | = | 0 | No | Minimum Required Meter Size
44 | 26 |  | Bidet |  |  | + |  | = | 0 | x | 1 | = | 0
46 | 27 |  | Laundry Sink |  |  | + |  | = | 0 | x | 1.5 | = | 0
49 | 28 |  | Clothes Washer |  |  | + |  | = | 0 | x | 4 | = | 0
51 | 29 |  | Dishwasher |  |  | + |  | = | 0 | x | 1.5 | = | 0 |  | 3/4"
53 | 30 |  | Hose Bib* | Hose Bibb (first) A,B |  | + |  | = | 0 | x | 2.5 | = | 0
|  |  |  | Hose Bibb (each addtl) A,B |  | + |  | = | 0 | x | 1 | = | 0
|  |  |  | Irrigation (per head) B,C |  | + |  | = | 0 | x | 1 | = | 0
56 | 31 |  |  | Other: |  | + |  | = | 0 | x |  | = | 0
58 | 32 |  |  | Other: |  | + |  | = | 0 | x |  | = | 0
60 | 33 |  | A Min. 2 hose bibs shall always be counted per detached structure unless outside of city limits.
63 | 34 |  | B If you are located outside of city limits, do not include any irrigation/hose bibs in WSFU count. | [6 empty] | Fixture Unit Count: |  |  | 0
66 | 35 |  | C Fixture unit quantity shall be based on the number of heads in the largest irrigation zone only.
99 | 43 |  | FOR QUESTIONS:
103 | 44
107 | 45 |  | 406-552-6060 - Fee questions |  |  |  | 406-552-6636 - Sewer connection questions
111 | 46 |  | 406-239-1385 - Plumbing questions |  |  |  | 406-552-6700 - Information on existing meter/supply line sizes call Missoula Water
115 | 47
119 | 48
130 | 51
135 | 52 | [14 empty] | Revised 3/5/21